## sample_list_example
path | filename | sample_desc | group | blank | sampletype | mode | instrument
C:/Users/drozditb/Documents/KMD Request 01282024/input | 009-CS6_011124 | mid cal std neg | CS6 | blank1 | SA | neg | SCIEX7600
C:/Users/drozditb/Documents/KMD Request 01282024/input | 013-SB_011224 | standard blank IB | blank1 | blank1 | BK | neg | SCIEX7600

## README
README
A table as in "sample_list_example" must be fill up to run XCMS and KMD analysis. The table could be contain all information assocaite to each sample but at minima the following one:
All field should be filled have no space and no special character such as @, #, $, %, &, *, - and +
Blank and sample are necessary for the analysis
wiff file in one folder or separate folder should be provide
The following informatio are necessary to run the code
path | The directory path of the file containing the analysis data. Needed for the data analysis workflow
filename | Filename without any extenssion
Optimally a filename should start with a letter, have no space and no special character such as @, #, $, %, &, *, - and +
Explanation:
IB refer to instrument blank
ISTDmix1 to ISTDmix3 refer to the mix of internal standard (3 replicates)
PS1 to PS12 refer to internal standard solution (positive control)
QCM1 to QCM12 refer to pooled quality control sample
Could be something else just need to be explain!!!
sample_desc | sample description if needed
group | To which replicate the analysis belongs. All analysis which are replicates of each other get the same name. Follow same code than filename.
blank | Which replicate group should be used for blank subtraction. Must be the same name code than the blank in group. You can associate different blank to different sample.
sampletype | What kin of sample Sample types. Potential option:
SA for sample
BK for Blank
QC for quality control
SP for spike sample
CS for calibration internal standard
mode | pos for positive neg for negative
instrument | SCIEX7600 (change if necessary)